## Slide 1: Comparing Mock-ups at Cold (1/2)
09-June 2023 (11:00)
CERN cryolab (B159)
Cryostat >90% filled with LN2 in 4 hours
gN2 flushing at 1 l/min (4 l/min during cooling)
3 lowest temperatures at -194OC since 4 hours
Dewar1
Dewar 2
LN2
Dewar1
LN2
Dewar2
Cryo
Short Run (0.4 m3)
Long Run (1.6 m3)

## Slide 2: Comparing Mock-ups at Cold (2/2)
Motor System works at CERN. To be continued during 1 month
Cryostat >90% filled with LN2 in 4 hours
gN2 flushing at 1 l/min (4 l/min during cooling)
3 lowest temperatures at -194OC since 4 hours
Tension around 20 N (CERN) wrt 30 N (Marseille)
Short Run (Nov. 2022)
Long Run (Jun. 2023)
09-June 2023 (11:00)
CERN cryolab (B159)
LN2
Dewar2
Cryo
LN2
Dewar1

## Slide 3
Pseudo–source
L = 5.5cm
f = 2.5 cm
M= O(100) g