## Slide 1: Weekly Monitoring
From 09/06 to 19/06
Lucas

## Slide 2: Summary :
DS2
(right)
DS4
(left)
Date | Hour | Ice Formation | °C | Tension (N) | %LN2 in tank | gN2 flow (L/h) | Voltage (V) | Current (A)
Fri - 06/09 | 18:00 | Yes | A,B,C LN2 D ~-170° | DS2: 17 DS4: 6 | 98% | >250 (no T) | V2 : 24 V4 : 24 | I2 : 0.08 I4 : 0.08
Sat - 06/10 | 14:31 | Yes, more for DS2 | A,B,C LN2 D -127° | DS2: 17.5 DS4: ~8 | 92% | 250 (no T) | V2 : 24 V4 : 24 | I2 : 0.09 I4 : 0.08
Sun - 06/11 | 14:53 | DS2 Only LN2 for DS4 | A,B,C LN2 D -108° | DS2: ? DS4: ? | 86% | 250 when arrive, 120 now (no T) | V2 : 24 V4 : 24 | I2 : 0.09 I4 : 0.08
Mon - 06/12 | 09:10 | Same | A,B,C LN2 D -100° | DS2: 7 DS4: 15 | 81% | 110 when arrive, 120 now (no T) | V2: 24 V4: 24 | I2 : 0.09 I4 : 0.08
Tue - 06/13 | 11:06 | Seems less on DS2 | A,B,C LN2 D -177.6° | DS2: 6 DS4: 16 | 90% | 250 L/h, (T) | V2: 24 V4: 24 | I2 : 0.09 I4 : 0.09
Wed – 06/14 | 9:12 | Same | A,B,C LN2 D -144° | DS2: 7 DS4: 16 | 95% | 120 L/h, (T) | V2: 24 V4: 24 | I2 : 0.09 I4: 0.08
Thu – 06/15 | 9:15 | Same | A,B,C LN2 D -117° | DS2: 5 DS4: 5 | 89% | Same | Same | Same
Fri – 06/16 | 9:20 | Same | A,B,C,D LN2 | DS2: 5 DS4: 5 | 99,6% | 110 when arrive, 120 now (T) | Same | Same

## Slide 3: Summary :
DS2
(right)
DS4
(left)
Date | Hour | Ice Formation | °C | Tension (N) | %LN2 in tank | gN2 flow (L/h) | Voltage (V) | Current (A)
Mon – 19/06 | 9:35 | Same | A,B,C LN2 D -103°C | DS2: 4 DS4 : 4 | 83% | 120 (T) | 24 both | 0,08 both
Tue – 20/06 | 9:15 | Same | A,B,C,D LN2 | DS2: 5 DS4: 5 | 100% | 120 (T) | 24 both | 0,08 both

## Slide 4: Temperature changes since Friday 6PM
LAr Temperature
Tank refills

## Slide 5: Tension changes since Monday 9AM

## Slide 6: Commentaries : Friday - 06/09 18:00
Peter and Pascal was there, no other commentary needed.
Picture from the top of the left tube
Picture from the top of the right tube

## Slide 7: Commentaries : Saturday - 06/10 14:31
Seems to have LN2 at the bottom of the tube : might prevent ice formation ? Need to check tension inside.
I thought ice was blocking the source, but by checking tension it seems fine.
Every other parameter seems fine.
Cryo level dropped by 5% in 20h. So ~6%/day ? I’ll check on Sunday
Monitoring for motors stopped around 2AM (on Saturday). I had to put it back on.
Picture from the top of the left tube
Picture from the top of the right tube

## Slide 8: Commentaries : Sunday - 06/11 14:53
Monitoring stopped again at 6:45 AM. 16h 16min from the start. It was ~15h yesterday. The program seems to stop around those time (15h after starting).
By forgetting to put the lid on the left tube, the plastic cap blocked the pulley and stop the movement. Fixed it by relax, putting rope back on pulley then locate and move it back to its position.
6% less LN2 in the tank. So, it seems 6%/day.
Liquid air inside tube, around 50cm from the top (position 570).
Every other parameters seems fine
Picture from the top of the left tube
Picture from the top of the right tube

## Slide 9: Commentaries : Monday - 06/12 09:10
Monitoring stopped again at 4:44 AM.
5% less LN2 in the tank. So, it seems 6.6%/day.
When flushing with Laetitia (put gN2 at 250 and block air exit on left side), some liquid was seen on the right side.
Every other parameters seems fine
Picture from the top of the left tube
Picture from the top of the right tube

## Slide 10: Commentaries : Tuesday - 06/13
Monitoring stopped again at 2:27 AM.
When putting the source at the hot garage, the gN2 tube was stuck. Tension rose at 60N. Relax then take off plastic cap. Shorten the gN2 pipe inside tube (more than 10cm was inside).
Some ice seems to have formed into the left tube (DS4). Maybe too much manipulation (to take pictures, to measure LN2 inside the tube …) increased humidity.
I started the morning program from Marie’s slides. Took 3 hours to complete. Forgot to take the last data to check the drift (I restarted the program before, so data unusable).
Laetitia filled the tank almost completely.

## Slide 11: Length on “Morning Routine” 13/06

## Slide 12: Tension on “Morning Routine” 13/06

## Slide 13: Commentaries : Wednesday - 06/14
Pression from battery outside : 150 bar. Need to talk again with Laetitia but seemed ok to her yesterday.
Seems like there is the same amount of ice in both sides. Maybe too much opening of the tube and humidity went inside.
I’ll be checking the ice formation only twice a day to prevent humidity getting inside.
Morning routine went fine. Took 2h30. Tension went to 30 for DS2 (sometimes 27, sometimes 32). Around 20 for DS4. Maybe need to talk about this together because it’s kinda high for DS2.
Drift after the morning routine : ~6cm

## Slide 14: Length on “Morning Routine” 14/06
Locate

## Slide 15: Tension on “Morning Routine” 14/06
Relax

## Slide 16: Commentaries : Thursday- 06/15
Pression from battery outside : ~145/150 bar. Laetitia said it’s going to be fine during a month at 120L/h.
Morning routine went fine. Tension went to 40 for DS2 at one time. It was when the source arrived at the destination (453). No clue why.
Error4 was kind of high since the beginning (around 7) but was constant.
Laetitia said we could put LAr at the end of the month but it’s going to take a big week to unfill the tank.
Drift after the morning routine : ~5cm
I stopped the afternoon routine at the “come back”. I’ll add the data tomorrow.

## Slide 17: Length on “Morning Routine” 15/06
Locate
Mid break

## Slide 18: Tension on “Morning Routine” 15/06
Mid break

## Slide 19: Length on “Afternoon program” 15/06

## Slide 20: Tension on “Afternoon program” 15/06
Relax but forgot to locate, then relax again

## Slide 21: Commentaries : Thursday- 06/16
LN2 in tube at 575, more than before. Maybe the filling of the tank ?
DS4 rope error during the afternoon program (from 453 to 516 at 1’ stops). Located and fixed.
Not enough time to do all the afternoon program (take ~5h30), so yesterday did going frontward and today backward.
I don’t have my USB, so gonna take the windows data (temperatures) tomorrow !

## Slide 22: Length on “Morning Routine” 16/06
Locate

## Slide 23: Tension on “Morning Routine” 16/06

## Slide 24: Length on “Afternoon program” 16/06
Located then relaxed

## Slide 25: Tension on “Afternoon program” 16/06
Located then relaxed

## Slide 26: Commentaries : Thursday- 06/19
In the morning routine, the tension when source is moving to PT100A is higher at the start of the routine (during 5-6 come back). Maybe some frost blocking the source at the beginning ?
…

## Slide 27: Length on “Morning Routine” 19/06

## Slide 28: Tension on “Morning Routine” 19/06

## Slide 29: Length on “Afternoon program” 19/06
Located then relaxed

## Slide 30: Tension on “Afternoon program” 19/06
Located then relaxed

## Slide 31: Commentaries : Thursday- 06/20
Program of this afternoon :
  Source at PT100 D for 2h30’
    OK
  Source at PT100 C for 1h30’
    .
  Source at PT100 B for 1h
    .
  Source at PT100 A for 1h
    .

## Slide 32: Length on “Morning Routine” 20/06
Locate then start of afternoon program

## Slide 33: Tension on “Morning Routine” 20/06
Start of afternoon program

## Slide 34: Length on “Afternoon program” 20/06
Located then relaxed

## Slide 35: Tension on “Afternoon program” 20/06
Located then relaxed

## Slide 36: Flushing LN2 to see effect on ice :
Time | 12/06/2023 11:00 | 12:00 | 12:50 | 14:00 | 15:05
Right Side (DS2) |  |  |  |  | 
Left Side (DS4) |  |  |  |  | 
T shaped gN2 pipe | NO | NO | NO | YES | YES
gN2 Total flow | 250L/h, right side | 250L/h, right side | 250L/h, right side | 250L/h split in both sides | 250L/h split in both sides
LN2 in tube | 56cm from top -> position 564 |  |  |  | 55cm from top -> position 565
%LN2 in tank | 81% | ~ 80% | ~ 80% | ~ 80% | ~ 80%
Pictures are cropped to be visible so do not pay attention on sizes, more on shapes.

## Slide 37: Flushing LN2 to see effect on ice :
Time | 16:00 | 17:00 | 13/06/2023 9:00 | 11:25 | 13:00
Right Side (DS2) |  |  |  |  | 
Left Side (DS4) |  |  |  |  | 
T shaped gN2 pipe | YES | YES | YES | YES | YES
gN2 Total flow | 250L/h | 250L/h | 250L/h | 250L/h | 250L/h
LN2 in tube | 56cm from top -> position 564 |  |  |  | 58 from top -> position 562
% LN2 in tank | ~ 80% | ~ 80% | 75% | ~98% | 98.4%
Pictures are cropped to be visible so do not pay attention on sizes, more on shapes.

## Slide 38: Flushing LN2 to see effect on ice :
Time | 14:14 | 15:30 | 17:30 | 14/06 9:30 | 15/06 10:00
Right Side (DS2) |  |  |  |  | 
Left Side (DS4) |  |  |  |  | 
T shaped gN2 pipe | YES | YES | YES | YES | YES
gN2 Total flow | 250L/h | 250L/h | 120L/h | 120L/h | 120L/h
LN2 in tube |  | 54cm so position 566 | 52 so position 568 |  | 
% LN2 in tank | 98% | 97,5% | 99% | 95% | 89%
Pictures are cropped to be visible so do not pay attention on sizes, more on shapes.

## Slide 39: Flushing LN2 to see effect on ice :
Time | 16/06 | 19/06 | 20/06 |  | 
Right Side (DS2) |  |  |  |  | 
Left Side (DS4) |  |  |  |  | 
T shaped gN2 pipe | YES | YES | YES |  | 
gN2 Total flow | 120L/h | 120L/h | 120L/h |  | 
LN2 in tube |  | Position 570 | Position 574 |  | 
% LN2 in tank | 99,6% | 83% | 100% |  | 
Pictures are cropped to be visible so do not pay attention on sizes, more on shapes.